## Sheet1
Schneider Default Tags | Modified Tags | Units
AMPL_Main_Inc/13522_High_Priority_Count | AMPL_Main_Inc//High_Priority_Count | unitless
AMPL_Main_Inc/13523_Overcurrent_Phase | AMPL_Main_Inc/Overcurrent_Phase | A
AMPL_Main_Inc/13524_Undercurrent_Phase | AMPL_Main_Inc/Undercurrent_Phase | A
AMPL_Main_Inc/13525_Overcurrent_Neutral | AMPL_Main_Inc/Overcurrent_Neutral | A | New Tags not present in Selec
AMPL_Main_Inc/13527_Overvoltage_L_L | AMPL_Main_Inc/Overvoltage_L_L | V | No Need to Modify
AMPL_Main_Inc/13528_Undervoltage_L_L | AMPL_Main_Inc/Undervoltage_L_L | V | Important/Main Tags which need rename
AMPL_Main_Inc/13529_Over_Voltage_L_N | AMPL_Main_Inc/Over_Voltage_L_N | V
AMPL_Main_Inc/13530_Under_Voltage_L_N | AMPL_Main_Inc/Under_Voltage_L_N | V
AMPL_Main_Inc/13531_Over_Active_Power | AMPL_Main_Inc/Over_Active_Power | kW
AMPL_Main_Inc/13533_Over_Apparent_Power | AMPL_Main_Inc/Over_Apparent_Power | kVAR
AMPL_Main_Inc/13534_Lead_Power_Factor | AMPL_Main_Inc/Lead_Power_Factor | unitless
AMPL_Main_Inc/13535_Lag_Power_Factor | AMPL_Main_Inc/Lag_Power_Factor | unitless
AMPL_Main_Inc/13547_Over_Frequency | AMPL_Main_Inc/Over_Frequency | Hz
AMPL_Main_Inc/13548_Under_Frequency | AMPL_Main_Inc/Under_Frequency | Hz
AMPL_Main_Inc/13550_Over_Voltage_THD | AMPL_Main_Inc/Over_Voltage_THD | V
AMPL_Main_Inc/13623_Meter_Powerup | AMPL_Main_Inc/Meter_Powerup | unitless
AMPL_Main_Inc/13624_Meter_Reset | AMPL_Main_Inc/Meter_Reset_1 | unitless
AMPL_Main_Inc/13626_Meter_Reset | AMPL_Main_Inc/Meter_Reset_2 | unitless
AMPL_Main_Inc/13633_Digital_Alarm_DI1 | AMPL_Main_Inc/Digital_Alarm_DI1 | unitless
AMPL_Main_Inc/13634_Digital_Alarm_DI2 | AMPL_Main_Inc/Digital_Alarm_DI2 | unitless
AMPL_Main_Inc/2018_Nominal_Voltage | AMPL_Main_Inc/Nominal_Voltage | V
AMPL_Main_Inc/2020_Nominal_Current | AMPL_Main_Inc/Nominal_Current | A
AMPL_Main_Inc/2026_VT_Primary | AMPL_Main_Inc/VT_Primary | V
AMPL_Main_Inc/21300_THD_Current_A | AMPL_Main_Inc/THD_Current_A | A
AMPL_Main_Inc/21302_THD_Current_B | AMPL_Main_Inc/THD_Current_B | A
AMPL_Main_Inc/21304_THD_Current_C | AMPL_Main_Inc/THD_Current_C | A
AMPL_Main_Inc/21306_THD_Current_N | AMPL_Main_Inc/THD_Current_N | A
AMPL_Main_Inc/21308_THD_Current_G | AMPL_Main_Inc/THD_Current_G | A
AMPL_Main_Inc/21322_THD_Voltage_A_B | AMPL_Main_Inc/THD_Voltage_A_B | V
AMPL_Main_Inc/21324_THD_Voltage_B_C | AMPL_Main_Inc/THD_Voltage_B_C | V
AMPL_Main_Inc/21326_THD_Voltage_C_A | AMPL_Main_Inc/THD_Voltage_C_A | V
AMPL_Main_Inc/21328_THD_Voltage_L_L | AMPL_Main_Inc/THD_Voltage_L_L | V
AMPL_Main_Inc/21330_THD_Voltage_A_N | AMPL_Main_Inc/THD_Voltage_A_N | V
AMPL_Main_Inc/21332_THD_Voltage_B_N | AMPL_Main_Inc/THD_Voltage_B_N | V
AMPL_Main_Inc/21334_THD_Voltage_C_N | AMPL_Main_Inc/THD_Voltage_C_N | V
AMPL_Main_Inc/21336_THD_Voltage_L_N | AMPL_Main_Inc/THD_Voltage_L_N | V
AMPL_Main_Inc/2700_Active_Eng_Del | AMPL_Main_Inc/Active_Eng_Del_kWh | kWh
AMPL_Main_Inc/2702_Active_Eng_Rec | AMPL_Main_Inc/Active_Eng_Rec_kWh | kWh
AMPL_Main_Inc/2704_Active_Eng_Del_P_Rec | AMPL_Main_Inc/Active_Eng_Del_P_Rec_kWh | kWh
AMPL_Main_Inc/2706_Active_Eng_Del_M_Rec | AMPL_Main_Inc/Active_Eng_Del_M_Rec_kWh | kWh
AMPL_Main_Inc/2708_Reactive_Eng_Del | AMPL_Main_Inc/Reactive_Eng_Del_kVARh | kVARh
AMPL_Main_Inc/2710_Reactive_Eng_Rec | AMPL_Main_Inc/Reactive_Eng_Rec_kVARh | kVARh
AMPL_Main_Inc/2712_Reactive_Eng_Del_P_Re | AMPL_Main_Inc/Reactive_Eng_Del_P_Rec_kVARh | kVARh
AMPL_Main_Inc/2714_Reactive_Eng_Del_M_Re | AMPL_Main_Inc/Reactive_Eng_Del_M_Rec_kVARh | kVARh
AMPL_Main_Inc/2716_Apparent_Eng_Del | AMPL_Main_Inc/Apparent_Eng_Del_kVAh | kVAh
AMPL_Main_Inc/2718_Apparent_Eng_Rec | AMPL_Main_Inc/Apparent_Eng_Rec_kVAh | kVAh
AMPL_Main_Inc/2720_Apparent_Eng_Del_P_Re | AMPL_Main_Inc/Apparent_Eng_Del_P_Rec_kVAh | kVAh
AMPL_Main_Inc/2722_Apparent_Eng_Del_M_Re | AMPL_Main_Inc/Apparent_Eng_Del_M_Rec_kVAh | kVAh
AMPL_Main_Inc/3000_Current_A | AMPL_Main_Inc/Current_A | A
AMPL_Main_Inc/3002_Current_B | AMPL_Main_Inc/Current_B | A
AMPL_Main_Inc/3004_Current_C | AMPL_Main_Inc/Current_C | A
AMPL_Main_Inc/3006_Current_N | AMPL_Main_Inc/Current_N | A
AMPL_Main_Inc/3008_Current_G | AMPL_Main_Inc/Current_G | A
AMPL_Main_Inc/3010_Current_Avg | AMPL_Main_Inc/Current_Avg | A
AMPL_Main_Inc/3012_Current_Unbalance_A | AMPL_Main_Inc/Current_Unbalance_A | A
AMPL_Main_Inc/3014_Current_Unbalance_B | AMPL_Main_Inc/Current_Unbalance_B | A
AMPL_Main_Inc/3016_Current_Unbalance_C | AMPL_Main_Inc/Current_Unbalance_C | A
AMPL_Main_Inc/3018_Current_Unbalance_W | AMPL_Main_Inc/Current_Unbalance_W | A
AMPL_Main_Inc/3020_Voltage_A_B | AMPL_Main_Inc/Voltage_A_B | V
AMPL_Main_Inc/3022_Voltage_B_C | AMPL_Main_Inc/Voltage_B_C | V
AMPL_Main_Inc/3024_Voltage_C_A | AMPL_Main_Inc/Voltage_C_A | V
AMPL_Main_Inc/3026_Voltage_L_L_Avg | AMPL_Main_Inc/Voltage_L_L_Avg | V
AMPL_Main_Inc/3028_Voltage_A_N | AMPL_Main_Inc/Voltage_A_N | V
AMPL_Main_Inc/3030_Voltage_B_N | AMPL_Main_Inc/Voltage_B_N | V
AMPL_Main_Inc/3032_Voltage_C_N | AMPL_Main_Inc/Voltage_C_N | V
AMPL_Main_Inc/3036_Voltage_L_N_Avg | AMPL_Main_Inc/Voltage_L_N_Avg | V
AMPL_Main_Inc/3038_Voltage_Unbalance_A_B | AMPL_Main_Inc/Voltage_Unbalance_A_B | V
AMPL_Main_Inc/3040_Voltage_Unbalance_B_C | AMPL_Main_Inc/Voltage_Unbalance_B_C | V
AMPL_Main_Inc/3042_Voltage_Unbalance_C_A | AMPL_Main_Inc/Voltage_Unbalance_C_A | V
AMPL_Main_Inc/3044_Voltage_Un_LL_W | AMPL_Main_Inc/Voltage_Un_LL_W | V
AMPL_Main_Inc/3046_Voltage_Unbalance_A_N | AMPL_Main_Inc/Voltage_Unbalance_A_N | V
AMPL_Main_Inc/3048_Voltage_Unbalance_B_N | AMPL_Main_Inc/Voltage_Unbalance_B_N | V
AMPL_Main_Inc/3050_Voltage_Unbalance_C_N | AMPL_Main_Inc/Voltage_Unbalance_C_N | V
AMPL_Main_Inc/3052_Voltage_Un_LN_W | AMPL_Main_Inc/Voltage_Un_LN_W | V
AMPL_Main_Inc/3054_Active_Power_A | AMPL_Main_Inc/Active_Power_A_kW | kW
AMPL_Main_Inc/3056_Active_Power_B | AMPL_Main_Inc/Active_Power_B_kW | kW
AMPL_Main_Inc/3058_Active_Power_C | AMPL_Main_Inc/Active_Power_C_kW | kW
AMPL_Main_Inc/3060_Active_Power_Total | AMPL_Main_Inc/Active_Power_Total_kW | kW
AMPL_Main_Inc/3062_Reactive_Power_A | AMPL_Main_Inc/Reactive_Power_A_kVAR | kVAR
AMPL_Main_Inc/3064_Reactive_Power_B | AMPL_Main_Inc/Reactive_Power_B_kVAR | kVAR
AMPL_Main_Inc/3066_Reactive_Power_C | AMPL_Main_Inc/Reactive_Power_C_kVAR | kVAR
AMPL_Main_Inc/3068_Reactive_Power_Total | AMPL_Main_Inc/Reactive_Power_Total_kVAR | kVAR
AMPL_Main_Inc/3070_Apparent_Power_A | AMPL_Main_Inc/Apparent_Power_A_kVA | kVA
AMPL_Main_Inc/3072_Apparent_Power_B | AMPL_Main_Inc/Apparent_Power_B_kVA | kVA
AMPL_Main_Inc/3074_Apparent_Power_C | AMPL_Main_Inc/Apparent_Power_C_kVA | kVA
AMPL_Main_Inc/3076_Apparent_Power_Total | AMPL_Main_Inc/Apparent_Power_Total_kVA | kVA
AMPL_Main_Inc/3110_Frequency | AMPL_Main_Inc/Frequency | Hz
AMPL_Main_Inc/3192_Power_Factor_Total | AMPL_Main_Inc/Power_Factor_Total_1 | unitless
AMPL_Main_Inc/3194_Power_Factor_Total | AMPL_Main_Inc/Power_Factor_Total_2 | unitless
AMPL_Main_Inc/3764_Last_Demand_kW | AMPL_Main_Inc/Last_Demand_kW | kW
AMPL_Main_Inc/3766_Present_Demand_kW | AMPL_Main_Inc/Present_Demand_kW | kW
AMPL_Main_Inc/3768_Predicted_Demand_kW | AMPL_Main_Inc/Predicted_Demand_kW | kW
AMPL_Main_Inc/3770_Peak_Demand_kW | AMPL_Main_Inc/Peak_Demand_kW | kW
AMPL_Main_Inc/3780_Last_Demand_kVAR | AMPL_Main_Inc/Last_Demand_kVAR | kVAR
AMPL_Main_Inc/3782_Present_Demand_kVAR | AMPL_Main_Inc/Present_Demand_kVAR | kVAR
AMPL_Main_Inc/3784_Predicted_Demand_kVAR | AMPL_Main_Inc/Predicted_Demand_kVAR | kVAR
AMPL_Main_Inc/3786_Peak_Demand_kVAR | AMPL_Main_Inc/Peak_Demand_kVAR | kVAR
AMPL_Main_Inc/3796_Last_Demand_kVA | AMPL_Main_Inc/Last_Demand_kVA | kVA
AMPL_Main_Inc/3798_Present_Demand_kVA | AMPL_Main_Inc/Present_Demand_kVA | kVA
AMPL_Main_Inc/3800_Predicted_Demand_kVA | AMPL_Main_Inc/Predicted_Demand_kVA | kVA
AMPL_Main_Inc/3802_Peak_Demand_kVA | AMPL_Main_Inc/Peak_Demand_kVAR | kVA
AMPL_Main_Inc/3876_Last_Demand_A | AMPL_Main_Inc/Last_Demand_A | A
AMPL_Main_Inc/3878_Present_Demand_A | AMPL_Main_Inc/Present_Demand_A | A
AMPL_Main_Inc/3880_Predicted_Demand_A | AMPL_Main_Inc/Predicted_Demand_A | A
AMPL_Main_Inc/3882_Peak_Demand_A | AMPL_Main_Inc/Peak_Demand_A | A
AMPL_Main_Inc/42304_Max_Current_Avg | AMPL_Main_Inc/Max_Current_Avg | A
AMPL_Main_Inc/42310_Max_Voltage_L_L_Avg | AMPL_Main_Inc/Max_Voltage_L_L_Avg | V
AMPL_Main_Inc/42316_Max_Voltage_L_N_Avg | AMPL_Main_Inc/Max_Voltage_L_N_Avg | V
AMPL_Main_Inc/42322_Max_Active_Power_T | AMPL_Main_Inc/Max_Active_Power_T | W
AMPL_Main_Inc/42328_Max_Reactive_Power_T | AMPL_Main_Inc/Max_Reactive_Power_T | VAR
AMPL_Main_Inc/42334_Max_Apparent_Power_T | AMPL_Main_Inc/Max_Apparent_Power_T | VA
AMPL_Main_Inc/42340_Max_Power_Factor_T | AMPL_Main_Inc/Max_Power_Factor_T | unitless
AMPL_Main_Inc/42346_Max_Frequency | AMPL_Main_Inc/Max_Frequency | Hz
AMPL_Main_Inc/42508_Phase_ang_VoltA_CurA | AMPL_Main_Inc/Phase_ang_VoltA_CurA | unitless
AMPL_Main_Inc/42510_Phase_ang_VoltB_CurB | AMPL_Main_Inc/Phase_ang_VoltB_CurB | unitless
AMPL_Main_Inc/42512_Phase_ang_VoltC_CurC | AMPL_Main_Inc/Phase_ang_VoltV_CurC | unitless
AMPL_Main_Inc/42592_Min_Current_Avg | AMPL_Main_Inc/Min_Current_Avg | A
AMPL_Main_Inc/42598_Min_Voltage_L_L_Avg | AMPL_Main_Inc/Min_Voltage_L_L_Avg | V
AMPL_Main_Inc/42604_Min_Voltage_L_N_Avg | AMPL_Main_Inc/Min_Voltage_L_N_Avg | V
AMPL_Main_Inc/42610_Min_Active_Power_T | AMPL_Main_Inc/Min_Active_Power_T_W | W
AMPL_Main_Inc/42616_Min_Reactive_Power_T | AMPL_Main_Inc/Min_Reactive_Power_VAR | VAR
AMPL_Main_Inc/42622_Min_Apparent_Power_T | AMPL_Main_Inc/Min_Apparent_Power_T_VA | VA
AMPL_Main_Inc/42628_Min_Power_Factor_T | AMPL_Main_Inc/Min_Power_Factor_T | unitless
AMPL_Main_Inc/42634_Min_Frequency | AMPL_Main_Inc/Min_Frequency | Hz